## Sheet1
Run calibSAMD_ADC_withPWM.ino with CALIB_ADC_DBG=1, copy the before and after calibration "actual ADC values" from monitor (make monitor window TALL) and paste in the appropriate BEFORE Calib and AFTER calib columns below. AVG means setting of CFG_ADC_MULT_SAMP_AVG = cfgADCmultSampAvg. Currently the chart plots the Error colums, which are the Calib columns minus the Ideal column.
Percent | PWM out value of 1000 | Ideal | Before Calib, AVG 0 | After Calib, AVG 0 | Before Calib, AVG 6 | After Calib, AVG 6 | Before Calib, AVG 7 | After Calib, AVG 7 | Error Before, AVG 0 | Error After, AVG 0 | Error Before, AVG 6 | Error After, AVG 6 | Error Before, AVG 7 | Error After, AVG 7
0 | 0 | 0 | 19 | 49 | 20 | 27 | 21 | 24 | 19 | 49 | 20 | 27 | 21 | 24
2.5 | 25 | 102 | 98 | 102 | 94 | 104 | 96 | 100 | -4 | 0 | -8 | 2 | -6 | -2
5 | 50 | 205 | 195 | 186 | 205 | 212 | 203 | 212 | -10 | -19 | 0 | 7 | -2 | 7
7.5 | 75 | 307 | 277 | 278 | 310 | 313 | 314 | 307 | -30 | -29 | 3 | 6 | 7 | 0
10 | 100 | 410 | 392 | 394 | 415 | 416 | 412 | 418 | -18 | -16 | 5 | 6 | 2 | 8
12.5 | 125 | 512 | 470 | 510 | 519 | 516 | 515 | 513 | -42 | -2 | 7 | 4 | 3 | 1
15 | 150 | 614 | 626 | 631 | 618 | 619 | 615 | 618 | 12 | 17 | 4 | 5 | 1 | 4
17.5 | 175 | 717 | 718 | 688 | 717 | 719 | 722 | 719 | 1 | -29 | 0 | 2 | 5 | 2
20 | 200 | 819 | 842 | 802 | 819 | 821 | 822 | 816 | 23 | -17 | 0 | 2 | 3 | -3
22.5 | 225 | 921 | 953 | 931 | 923 | 928 | 921 | 916 | 32 | 10 | 2 | 7 | 0 | -5
25 | 250 | 1024 | 1068 | 981 | 1018 | 1021 | 1023 | 1021 | 44 | -43 | -6 | -3 | -1 | -3
27.5 | 275 | 1126 | 1167 | 1108 | 1121 | 1124 | 1127 | 1121 | 41 | -18 | -5 | -2 | 1 | -5
30 | 300 | 1229 | 1218 | 1289 | 1235 | 1227 | 1223 | 1223 | -11 | 60 | 6 | -2 | -6 | -6
32.5 | 325 | 1331 | 1276 | 1314 | 1328 | 1330 | 1330 | 1327 | -55 | -17 | -3 | -1 | -1 | -4
35 | 350 | 1433 | 1480 | 1467 | 1436 | 1438 | 1438 | 1428 | 47 | 34 | 3 | 5 | 5 | -5
37.5 | 375 | 1536 | 1561 | 1557 | 1536 | 1538 | 1536 | 1532 | 25 | 21 | 0 | 2 | 0 | -4
40 | 400 | 1638 | 1648 | 1647 | 1641 | 1633 | 1643 | 1636 | 10 | 9 | 3 | -5 | 5 | -2
42.5 | 425 | 1740 | 1732 | 1709 | 1743 | 1739 | 1744 | 1736 | -8 | -31 | 3 | -1 | 4 | -4
45 | 450 | 1843 | 1866 | 1793 | 1849 | 1838 | 1844 | 1841 | 23 | -50 | 6 | -5 | 1 | -2
47.5 | 475 | 1945 | 1975 | 1981 | 1948 | 1942 | 1953 | 1943 | 30 | 36 | 3 | -3 | 8 | -2
50 | 500 | 2048 | 2031 | 2021 | 2048 | 2045 | 2051 | 2042 | -17 | -27 | 0 | -3 | 3 | -6
52.5 | 525 | 2150 | 2142 | 2202 | 2155 | 2150 | 2155 | 2143 | -8 | 52 | 5 | 0 | 5 | -7
55 | 550 | 2252 | 2221 | 2270 | 2256 | 2255 | 2258 | 2247 | -31 | 18 | 4 | 3 | 6 | -5
57.5 | 575 | 2355 | 2377 | 2361 | 2363 | 2351 | 2365 | 2355 | 22 | 6 | 8 | -4 | 10 | 0
60 | 600 | 2457 | 2454 | 2448 | 2471 | 2449 | 2466 | 2451 | -3 | -9 | 14 | -8 | 9 | -6
62.5 | 625 | 2559 | 2552 | 2620 | 2565 | 2560 | 2571 | 2557 | -7 | 61 | 6 | 1 | 12 | -2
65 | 650 | 2662 | 2680 | 2707 | 2669 | 2658 | 2676 | 2655 | 18 | 45 | 7 | -4 | 14 | -7
67.5 | 675 | 2764 | 2777 | 2781 | 2781 | 2766 | 2773 | 2764 | 13 | 17 | 17 | 2 | 9 | 0
70 | 700 | 2867 | 2944 | 2879 | 2881 | 2870 | 2875 | 2866 | 77 | 12 | 14 | 3 | 8 | -1
72.5 | 725 | 2969 | 3012 | 3018 | 2982 | 2971 | 2975 | 2969 | 43 | 49 | 13 | 2 | 6 | 0
75 | 750 | 3071 | 3074 | 3080 | 3081 | 3070 | 3088 | 3070 | 3 | 9 | 10 | -1 | 17 | -1
77.5 | 775 | 3174 | 3226 | 3204 | 3190 | 3181 | 3190 | 3168 | 52 | 30 | 16 | 7 | 16 | -6
80 | 800 | 3276 | 3318 | 3322 | 3290 | 3275 | 3291 | 3280 | 42 | 46 | 14 | -1 | 15 | 4
82.5 | 825 | 3378 | 3427 | 3347 | 3400 | 3380 | 3393 | 3381 | 49 | -31 | 22 | 2 | 15 | 3
85 | 850 | 3481 | 3530 | 3500 | 3499 | 3479 | 3497 | 3479 | 49 | 19 | 18 | -2 | 16 | -2
87.5 | 875 | 3583 | 3600 | 3565 | 3607 | 3586 | 3597 | 3585 | 17 | -18 | 24 | 3 | 14 | 2
90 | 900 | 3686 | 3679 | 3653 | 3705 | 3695 | 3701 | 3685 | -7 | -33 | 19 | 9 | 15 | -1
92.5 | 925 | 3788 | 3862 | 3764 | 3812 | 3793 | 3806 | 3794 | 74 | -24 | 24 | 5 | 18 | 6
95 | 950 | 3890 | 3868 | 3860 | 3912 | 3893 | 3907 | 3891 | -22 | -30 | 22 | 3 | 17 | 1
97.5 | 975 | 3993 | 4068 | 3948 | 4018 | 3992 | 4014 | 3993 | 75 | -45 | 25 | -1 | 21 | 0
100 | 1000 | 4095 | 4077 | 4069 | 4078 | 4058 | 4079 | 4058 | -18 | -26 | -17 | -37 | -16 | -37